## Sheet1
description | dataTagId | unitId | standardTag
Process Inlet Steam Pressure | PT2_7_SCALE_PV | 2 | PROSS1_INN_STEAM_PRSS1
Furnace Inlet Totalized Fuel | TOTALISE_FUEL_FLOW | 11 | FURNC1_INN_FUELS_TOTZ1
Process Inlet Totalized Steam | TOTAL_STEAM | 11 | PROSS1_INN_STEAM_TOTZ1
Process Outlet/Make up Water Temperature | TE1_5_SCALE_PV | 7 | FWTNK1_OUT_WATER_TEMP1
Process Inlet Exit Steam Temperature | TE2_8_SCALE_PV | 7 | PROSS1_INN_STEAM_TEMP1
System Load | BOILER_LOAD | 1 | CTRLX1_MID_XXXXX_LOAD1
Feed water to boiler -- mass flow rate | FEED_WATER_FLOW | 3 | BOILR1_INN_WATER_FLOW1
Feed water to boiler -- temperature | TE1_5_SCALE_PV | 7 | BOILR1_INN_WATER_TEMP1
Boiler tank pressure | PT2_7_SCALE_PV | 2 | BOILR1_MID_DRUMX_PRSS1
Boiler drum steam-out mass flow rate | FT2_14A_SCALE_PV | 3 | BOILR1_OUT_STEAM_FLOW1
Boiler drum level transmitter output | LT2_4_SCALE_PV | 1 | BOILR1_MID_DRUMX_LEVL1